SPECIAL EVENTS VENDOR INSPECTION CHECKLIST

The following items are required inspections by the Building & Enforcement Services Department, Fire Safety Division for the below listed special event.  Inspections are required to be completed 1 week prior to the scheduled event with NO Exceptions.  Vendors are encouraged to call with any questions. ALL VENDORS ARE REQUIRED TO CALL 386-878-8655 or 386-878-8656, TO SCHEDULE REQUIRED INSPECTIONS.  FAILURE TO DO SO, MAY RESULT IN THE VENDOR BEING SUSPENDED AND/OR REVOKED FROM EVENT (this includes the day of the event).

Event Name:  __________2015 Deltona Relay for Life Event (05-2/3–15)_____   Permit#: SE15-006

Event Address: ___1200 Saxon Blvd – Soccer Complex____  Type Permit: Food/Other Vendor

Vendor Name/Contact: ____________________________________ Phone Number: ______________

## SITE/ACCESS

[ X ]	Site Plan / Layout shall be submitted and approved

[ X ]	Tents or membrane structures are a minimum of 10 ft between stake lines [1:25.2.3.1]

[  ]	Tents, not exceeding 1200sq ft and located in open spaces, shall not be required to be separated from each other, provided that safety precautions meet the approval of the AHJ  [1:25.2.3.4]

[ X ]	Tent fabrics shall meet the flame propagation performance criteria contained in NFPA 701, Standard Methods for Fire Tests for Flame Propagation for Textiles and Films.  [1:25.2.2.1] A copy of the flame resistant certificate shall be submitted along with the vendor application.  Affixed to each tent there shall be a flame resistant tag/label.

[ X ]	Tents or membrane structures greater than 120sq ft require a separate permit

[ X ]	Portable fire extinguishers of approved types shall be furnished and maintained in tents and vendor booths in such quantity and in such locations as directed by the AHJ. [1:25.2.5] A minimum of one portable fire extinguisher with a rating of not less than 3A-40B:C, provided

[ X ]	Fire extinguishers are properly inspected and have current certification

[ X ]	Fire department access is not less than 20-ft of unobstructed width between rows [1:18.2.3.4.1.1]

[  ]	The finished ground level enclosed by any tent, and the finished ground level of not less than 10 ft outside of the tent is clear of combustible material or vegetation  [1:25.2.4.1]

[ X ]	Smoking shall not be permitted in any tent.  [1:25.2.4.2] “NO SMOKING” signs posted at

20 foot intervals around the perimeter of the tent

[ X ]	NO open ground fire shall be allowed.

## COOKING/CONCESSIONS/APPLIANCES

[ X ]	A minimum of one portable fire extinguisher, with a minimum rating of 3A:40-B:C, shall be provided for each concession stand

[ X ]	Concession stands utilized for cooking shall have a minimum of 10 ft of clearance on two sides and not  be located within 10 ft of amusement rides or devices. [1:10.15.8]

COOKING/CONCESSIONS/APPLIANCES (cont’d):

[  ]	Cooking concessions shall provide a copy of food handler certificate

[ X ]	L/P /cooking fuels/generators are properly installed and protected in accordance with NFPA 54, National Fuel Gas Code, and NFPA 58, Liquefied Petroleum Gas Code

Cylinders shall be positioned so that the discharge from the cylinder pressure relief device is located:

--At least 3 ft (1 m) horizontally away from any building opening that is below the level of such discharge

--At least 5 ft (1.5 m) in any direction away from any exterior source of ignition, openings into direct vent (sealed combustion system) appliances, or mechanical ventilation air intakes [58:6.3.1]

[ X ]	Generators are separated from temporary membrane structures and tents by a minimum of 5 ft and are protected from contact by fencing, enclosure or other approved means  [1:25.1.12.1]

[ X ]	Cooking equipment used in mobile or temporary concessions that produces grease-laden vapors shall be protected by an approved commercial cooking exhaust hood and fire extinguishing system in accordance with NFPA 96, Standard for Ventilation  Control and Fire Protection of Commercial Cooking Operations. [1:50.2.1.9]

[ X ]	Class K portable fire extinguisher provided as secondary backup to commercial cooking fire

extinguishing system [1:50.4.4.1]

[ X ]     Fire Extinguisher(s) / Suppression System(s) properly installed, inspected and certified

[ X ]     NO free standing deep fat/turkey fryers/stoves shall be allowed

[ X ]	Enclosed areas meet egress requirements

GENERAL FIRE SAFETY

[  ]	Life Safety Evaluation. The AHJ shall be permitted to order a life safety evaluation in accordance with 10.15.3.  [1:10.15.3]

[ X ]	Electrical Equipment.  All electrical appliances, fixtures, equipment, or wiring shall be installed and maintained in accordance with NFPA 70, National Electrical Code.  [1:10.15.7] [1:11.1.2]

[  ]	Standby Fire Personnel.  Where required by the AHJ, standby fire personnel shall be provided and comply with 1.17.15.  [1:10.15.4]

[  ]	Communications.  Where required by the AHJ, a method of notifying the fire department in the event of an emergency shall be provided and readily available to the public.  [1:10.15.9]

[ X ]     Internal Combustion Power Sources.  Fuel tanks shall be of adequate fuel capacity to permit

uninterrupted operation during normal operating hours; refueling shall be conducted only when not in use; power sources shall be isolated from contact with the public by either physical guards, fencing, or an enclosure.  [1:10.15.10]

[  ]	Parade Floats.  Motorized parade floats and towing apparatus shall be provided with a minimum of 3A:40-B:C, rated portable fire extinguisher readily accessible to the operator.  [1:10.17.2]

[  ]	Smoke Alarms.  A minimum of one single station smoke alarm shall be located in all stock or

equipment trailers when they are used for sleeping purposes.  [1:10.15.6]

Vendor: _________________________________________________ Date: __________________________

Fire Inspector:  ___________________________________________ Date: __________________________

# Text boxes

OFFICE USE ONLY

Items:

Pop Up:  		Y   N

Pre-Packaged Food:  	Y   N

Cooking on site:   	Y   N

Handouts:     		Y   N

Generator:        Y   N    Elec  Gas

Misc:  ________________________